Procedures for the Installation of an On-Lot Sewage 
System in Heidelberg Township
Setbacks – Minimum setbacks are required to ensure the system is contained upon the property.
Size – The size of the on-lot system is dependent upon the ability of the soil to absorb the effluent. 
Procedures
1.
Prospective applicants should call the Sewage Enforcement Officer (SEO) for an initial consultation and request an application.  The signed application should be submitted to the SEO at either the Township building or through the U.S. Mail service.  All fees must accompany the application.  
2.
All excavations must acquire a PA One Call serial number three to ten days prior to excavation.  The PA One Call number is 1-800-242-1776.  For emergency repairs, the PA One Call must still be called to acquire a serial number. 
3.
All property lines, easements, right-of-ways should be identified upon the submission of the application by the property owner.  The final location of the on-lot system will be determined by the applicant in consultation with the SEO. 
4.
The property owner should be present at the initial on-site consultation with the SEO.  Adequate accessibility and site suitability is the responsibility of the property owner.  
5.
Testing will be accomplished within twenty-one (21) days from receipt of the application and proper site preparation. 
6.
Scheduling dates for site investigation will be arranged by the property owner and excavator. 
7.
The test results will be forwarded by mail to the applicant.  Four (4) copies of the septic system design will be forwarded to the SEO and issue or denial of the permit will occur within seven (7) days unless additional information is requested by the SEO.  Copies of approved E&S or NPDES plans or letters of exemption must be submitted with the application. 

8.
The permit is viable for three (3) years from the date of issue.

9.
SEO is to be contacted for inspections and scheduled prior to construction of the septic system.  

10.
Allow seventy-two (72) hours for scheduling an inspection. 

11.  
All complaints of fees or services must be in writing to the Township.

12.
Installation will be completed in accordance with the current Chapter 73.13, PA Code 25 for setbacks, etc. 

13.
An alternate SEO is available if the primary SEO is not immediately available for a consultation.  

As of 12/8/2010
